## Slide 1
Data Table (Tidy)
Feature Table (Tidy)

## Slide 2
Load Data
Prefilter:
Remove features with less that a given % of QC values missing (or below the blank concentration)
Batch Correct:
Run the batch correction algorithm. Each feature is corrected in turn (or in parallel if the parallel engine is activated).
Filter Features:
Remove features (peaks) based on metrics of quality: RSD, D-Ratio, Blank Ratio
Exploration:
Visualize quality metrics univariately & multivariately.
Explore & Clean Data:
Evaluate:
Calculate quality metrics univariately & multivariately.
Export Corrected Data
Configuration:
Set the desired configuration of the: QC outlier detection, the within-batch and between-batch correction method (with or without cross-validation) and other operational settings
Export Clean Data
5
2
3
4
1
6