## Prefilter
Option | Action
x% permissible missing QCs | Metabolite feature is removed if there are more than x% missing QC samples.
☒ Batch-wise | % missing calculated per batch and remove peak if any batch has > x% missing QCs
☒ < blank = missing | consider any QC sample with signal < the blank threshold to be missing

## Sheet2
Name | Options | Explanation
LogTransform | "true"/"false" | Perform Log10 transformation on data before correction (to ensure normal distribution)
RemoveZeros | "true"/"false" | There is no such thing as zero. Samples is either detected (value) or not detected (missing). Zeros mess up statistics.
OutlierScope | "Local","Global", "Global&Local" | Perform outlier detection per batch, across all the batches, or both
OutlierMethod | "None","Percentile","Linear","Quadratic","Cubic" | The 'linear'/quadratic/cubic' options fit a simple polynomial function to the QC data using robust least squares regression. Points outside the population confidence interval are deemed outliers. The 'percentile' option implements the standard non-parametric < Q1 − 1.5 IQR or > Q3 + 1.5 IQR outlier detection method on the QC samples.
OutlierCI | value between between 0.9 and 0.99 | Set the Confidence interval for the ploynomial methods above. 90%-99%
OutlierPostHoc | "Ignore","MPV","NaN" | For the corrected data. Either ignore outliers or replace with the QC median peak value (MPV) or remove (replace with "not a number" NaN).
IntraBatchMode | "Median","Linear","Spline" | Three correction modes. "Spline" is the default QCRSC algorithm that requires optimisation of the smoothing parameter. "Linear" is a simple (interpolated) linear regression based on the QC values & as such requires no smoothing optimisation. "Median" equalises the QC median across batches & ignores within batch systematic change.
InterBatchMode | "QC","Reference" | QC' = both the intra- and inter-batch based on the QC samples; 'Reference' = intra-batch correction based on the QCs but the inter-batch correction uses the samples labelled as 'Reference'.
QCRSCgammaRange | "x:y:z" | The range of values (x to z) to search to determine to optimal correction curve (in increments of y). A value >=4 results in a curve equivalent to a linear regression. A value < 0 results in a highly nonlinear curve.
QCRSCcvMethod | "3-Fold","5-Fold","7-Fold","Leaveout" | Type of cross-validation used for optimising the smoothing parameter value.
QCRSCmcReps | integer | The number of Monte Carlo (random) resamples of the k-fold cross validation. The resulting cvMSE the mean of the generated set of cvMSEs.
CorrectionType | "Subtract","Divide" | Subtract or divide the correction curve from the raw data. Optional depending on whether you believe the bias to be additive or multiplicative. Recommendation: If multiplicative & Log10 transformation is used then Subtract.
BlankRatioMethod | "QC","Median","Percentile" | BlankRatio = 100*max(BlankValue)/SampleReferenceValue. 'QC' sets the SampleReferenceValue as the median QC value; 'Median' sets the SampleReferenceValue as the median Sample value; 'Percentile' sets BlankRatio = % of Samples < max(BlankValue)*RelativeLOD (RelativeLOD is a user defined constant - default 1.5). In this instance missing values are considered Blank values
RelativeLOD | value | The RelativeLOD is a multiplier (relative to the Blank) used to set a value below which a peak is considered background noise. i.e., "estimated LOD = max(Blank) x relativeLOD"
StatsParametric | "true"/"false" | Choose whether summary statistics for each corrected feature are calculated using parametric (mean, standard deviation etc) or non-parametric methods (median, median absolute deviation etc).
ParallelProcess |  | Switch on the parallel processor to use mulitple processor cores to speed up the QCRSC engine.